## Total Capacity Zone Template (hidden)
| Room ID | [10 empty] | Unit/Zone Capacity LPM
Room usage
| Therapy Type |  |  |  |  | Dropdown | [5 empty] | % usage of total unit capacity
|  | FiO2 |  |  |  | Ref pull | LPM |  | set manual vs ref
|  | O2 Cons |  |  |  | Ref pull | LPM |  | recalculate if manual
|  | Air Cons |  |  |  | Ref pull | LPM |  | recalculate if manual
PACU 1
Select Therapy Type |  |  | MSN | [10 empty] | Total Capacity
Reference Settings
| Total Gas |  |  | 8 | LPM
| FiO2 |  |  | 30% | %
| O2 Consumption |  |  | 0.9 | LPM
| Air Consumption |  |  | 7.1 | LPM
Manual Settings
| Total Gas |  |  | 8 | LPM
| FiO2 |  |  | 30% | %
| O2 Consumption |  |  | 0.91954 | LPM
| Air Consumption |  |  | 7.0805 | LPM
| T | Total Gas Check |  | 8 | LPM
Zone PACU
Current settings
| Total Capacity | [9 empty] | Capacity |  |  |  | Capacity
[7 empty] | Select Pipe Size |  |  |  | Medical Air |  |  |  | Oxygen
[7 empty] | 1/2" |  |  |  | #REF! |  | LPM |  | #REF! |  | LPM
Capacity in Use
[11 empty] | Medical Air |  |  |  | Oxygen
[8 empty] | Total |  | T | 0 |  |  |  | T | 0
[8 empty] | Room |  | 1 | =ref |  |  |  | 1 | =ref |  | These numbers, each is a sheet
[7 empty] | Lights up in use |  |  | 2 | =ref |  |  |  | 2 | =ref |  | A VAM that returns these values:
[10 empty] | 3 | =ref |  |  |  | 3 | =ref |  |  | Medical Air Consumed
[10 empty] | 4 | =ref |  |  |  | 4 | =ref |  |  | Oxygen Consumed
[10 empty] | 5 | =ref |  |  |  | 5 | =ref
[10 empty] | 6 | =ref |  |  |  | 6 | =ref
[10 empty] | 7 | =ref |  |  |  | 7 | =ref
[10 empty] | 8 | =ref |  |  |  | 8 | =ref
[10 empty] | 9 | =ref |  |  |  | 9 | =ref
[10 empty] | 10 | =ref |  |  |  | 10 | =ref
[10 empty] | 11 | =ref |  |  |  | 11 | =ref
[10 empty] | 12 | =ref |  |  |  | 12 | =ref
[10 empty] | 13 | =ref |  |  |  | 13 | =ref
[10 empty] | 14 | =ref |  |  |  | 14 | =ref
[10 empty] | 15 | =ref |  |  |  | 15 | =ref
[10 empty] | 16 | =ref |  |  |  | 16 | =ref
[10 empty] | 17 | =ref |  |  |  | 17 | =ref
[10 empty] | 18 | =ref |  |  |  | 18 | =ref
[10 empty] | 19 | =ref |  |  |  | 19 | =ref
[10 empty] | 20 | =ref |  |  |  | 20 | =ref
[10 empty] | 21 | =ref |  |  |  | 21 | =ref
[10 empty] | 22 | =ref |  |  |  | 22 | =ref
[10 empty] | 23 | =ref |  |  |  | 23 | =ref
Note on A37: Ngo, Johnathan: Key: MSN= Masks/Standard Nasal Cannula RVM= Reservoir Masks and Venturi Masks ICU Vent= Standard Invasive Ventilation HFNC= Noninvasive High Flow Oscill Vent= High Frequency Oscillating Ventilators Noninvasive Other Devices= NI Other

## Zone Model
To Equation Master
Instructions
This sheet is a visual representation of a gas zone and the rooms that draw from that line. Each box represents a room's display. To access the visual display, type the name of the room into the blue bar. The top left cell of each box is a link to each individual room's setting page. Activate the room and select either reference or manual usage. The data will automatically update on this sheet. Each room tab has a key for the selectable therapy types that can be located by hovering your cursor over the “select therapy type” cell.
` |  |  | ` |  |  | ` |  |  | ` |  |  |  | ` |  |  |  | ` |  |  | `
TT | 0 |  | TT | 0 |  | TT | 0 |  | TT | 0 |  |  | TT | 0 |  |  | TT | 0 |  | TT | 0
O | 0 | LPM | O | 0 | LPM | O | 0 | LPM | O | 0 |  | LPM | O | 0 | LPM |  | O | 0 | LPM | O | 0 | LPM
A | 0 | LPM | A | 0 | LPM | A | 0 | LPM | A | 0 |  | LPM | A | 0 | LPM |  | A | 0 | LPM | A | 0 | LPM
` |  |  | ` |  |  | ` |  |  | ` |  |  |  | ` |  |  |  | ` |  |  | `
TT | 0 |  | TT | 0 |  | TT | 0 |  | TT | 0 |  |  | TT | 0 |  |  | TT | 0 |  | TT | 0
O | 0 | LPM | O | 0 | LPM | O | 0 | LPM | O | 0 |  | LPM | O | 0 | LPM |  | O | 0 | LPM | O | 0 | LPM
A | 0 | LPM | A | 0 | LPM | A | 0 | LPM | A | 0 |  | LPM | A | 0 | LPM |  | A | 0 | LPM | A | 0 | LPM
` |  |  | ` |  |  | Zone |  | [name] |  |  | Pipe Size |  |  | 1" |  |  | ` |  |  | `
TT | 0 |  | TT | 0 |  | Active Rooms |  | 0 | [8 empty] | TT | 0 |  | TT | 0
O | 0 | LPM | O | 0 | LPM | Total Zone Capacity | [10 empty] | O | 0 | LPM | O | 0 | LPM
A | 0 | LPM | A | 0 | LPM | O2 Capacity |  | 1400 |  | LPM |  | 1500 |  | Air Capacity |  |  | A | 0 | LPM | A | 0 | LPM
` |  |  | ` |  |  | Total Capacity in Use | [10 empty] | ` |  |  | `
TT | 0 |  | TT | 0 |  | O2 Capacity |  | 0 |  | LPM |  | 0 |  | Air Capacity |  |  | TT | 0 |  | TT | 0
O | 0 | LPM | O | 0 | LPM |  |  | 0% |  | % |  | 0% |  |  |  |  | O | 0 | LPM | O | 0 | LPM
A | 0 | LPM | A | 0 | LPM | Available Capacity Remaining | [10 empty] | A | 0 | LPM | A | 0 | LPM
` |  |  | ` |  |  | O2 Capacity |  | 1400 |  | LPM |  | 1500 |  | Air Capacity |  |  | ` |  |  | `
TT | 0 |  | TT | 0 |  |  |  | 100% |  | % |  | 100% |  |  |  |  | TT | 0 |  | TT | 0
O | 0 | LPM | O | 0 | LPM | [11 empty] | O | 0 | LPM | O | 0 | LPM
A | 0 | LPM | A | 0 | LPM | [11 empty] | A | 0 | LPM | A | 0 | LPM
` |  |  | ` |  |  | ` |  |  | ` |  |  |  | ` |  |  |  | ` |  |  | `
TT | 0 |  | TT | 0 |  | TT | 0 |  | TT | 0 |  |  | TT | 0 |  |  | TT | 0 |  | TT | 0
O | 0 | LPM | O | 0 | LPM | O | 0 | LPM | O | 0 |  | LPM | O | 0 | LPM |  | O | 0 | LPM | O | 0 | LPM
A | 0 | LPM | A | 0 | LPM | A | 0 | LPM | A | 0 |  | LPM | A | 0 | LPM |  | A | 0 | LPM | A | 0 | LPM
` |  |  | ` |  |  | ` |  |  | ` |  |  |  | ` |  |  |  | ` |  |  | `
TT | 0 |  | TT | 0 |  | TT | 0 |  | TT | 0 |  |  | TT | 0 |  |  | TT | 0 |  | TT | 0
O | 0 | LPM | O | 0 | LPM | O | 0 | LPM | O | 0 |  | LPM | O | 0 | LPM |  | O | 0 | LPM | O | 0 | LPM
A | 0 | LPM | A | 0 | LPM | A | 0 | LPM | A | 0 |  | LPM | A | 0 | LPM |  | A | 0 | LPM | A | 0 | LPM
The ASHE advocacy team works to monitor and unify the many overlapping codes and standards regulating the health care physical environment allowing health care facilities to optimize their physical environment and focus more of their valuable resources on patient care. © 2020 The American Society for Health Care Engineering of the American Hospital Association 155 North Wacker Drive, Suite 400 ¦ Chicago, IL 60606 ¦ Phone: 312-422-3800 ¦ Email: ashe@aha.org ¦ Web: www.ashe.org
Disclaimer: Noncommercial use of original content in this document is granted to ASHE Members unless otherwise indicated. To request permission to reproduce ASHE content, please email ASHE at ashe@aha.org. This document is provided by ASHE as a service to its members. The information provided may not apply to a reader’s specific situation and is not a substitute for application of the reader’s own independent judgment or the advice of a competent professional. ASHE does not make any guaranty or warranty as to the accuracy or completeness of any information contained in this document. ASHE and the authors disclaim liability for personal injury, property damage, or other damages of any kind, whether special, indirect, consequential, or compensatory, that may result directly or indirectly from use of or reliance on this document.

## 1
| 0 |  |  |  |  | To Model
| Status |  | Inactive
| Select Therapy Type | [5 empty] | -
| Select Setting Type |  | Use Ref Setting
+
Reference Settings
| Total Gas |  |  | #N/A | LPM |  | +
| FiO2 |  |  | #N/A | %
| O2 Consumption |  |  | #N/A | LPM |  | -
| Air Consumption |  |  | #N/A | LPM
+
| Manual Settings | [6 empty] | Calculation Check
| Total Gas |  |  |  | LPM |  | + | O2 | = | 0 | x | #N/A | = | #N/A | LPM
| FiO2 |  |  |  | % |  |  | Air | = | 0 | x | #N/A | = | #N/A | LPM
| O2 Consumption |  |  | #N/A | LPM |  | - | Total Gas = |  |  | O2 + Air |  | = | #N/A | LPM
| Air Consumption |  |  | #N/A | LPM
| #N/A | Total Gas Check |  | #N/A | LPM
Data Used
| Total Gas |  |  | 0 | LPM
| FiO2 |  |  | 0% | %
| O2 Consumption |  |  | 0 | LPM
| Air Consumption |  |  | 0 | LPM
© 2020 The American Society for Health Care Engineering of the American Hospital Association 155 North Wacker Drive, Suite 400 ¦ Chicago, IL 60606 ¦ Phone: 312-422-3800 ¦ Email: ashe@aha.org ¦ Web: www.ashe.org
Note on B6: Key: MSN= Masks/Standard Nasal Cannula RVM= Reservoir Masks and Venturi Masks ICU Vent= Standard Invasive Ventilation HFNC= Noninvasive High Flow Oscill Vent= High Frequency Oscillating Ventilators Noninvasive Other Devices= NI Other

## 2
| 0 |  |  |  |  | To Model
| Status |  | Inactive
| Select Therapy Type | [5 empty] | -
| Select Setting Type |  | Use Ref Setting
+
Reference Settings
| Total Gas |  |  | #N/A | LPM |  | +
| FiO2 |  |  | #N/A | %
| O2 Consumption |  |  | #N/A | LPM |  | -
| Air Consumption |  |  | #N/A | LPM
+
| Manual Settings | [6 empty] | Calculation Check
| Total Gas |  |  |  | LPM |  | + | O2 | = | 0 | x | #N/A | = | #N/A | LPM
| FiO2 |  |  |  | % |  |  | Air | = | 0 | x | #N/A | = | #N/A | LPM
| O2 Consumption |  |  | #N/A | LPM |  | - | Total Gas = |  |  | O2 + Air |  | = | #N/A | LPM
| Air Consumption |  |  | #N/A | LPM
| #N/A | Total Gas Check |  | #N/A | LPM
Data Used
| Total Gas |  |  | 0 | LPM
| FiO2 |  |  | 0% | %
| O2 Consumption |  |  | 0 | LPM
| Air Consumption |  |  | 0 | LPM
© 2020 The American Society for Health Care Engineering of the American Hospital Association 155 North Wacker Drive, Suite 400 ¦ Chicago, IL 60606 ¦ Phone: 312-422-3800 ¦ Email: ashe@aha.org ¦ Web: www.ashe.org
Note on B6: Key: MSN= Masks/Standard Nasal Cannula RVM= Reservoir Masks and Venturi Masks ICU Vent= Standard Invasive Ventilation HFNC= Noninvasive High Flow Oscill Vent= High Frequency Oscillating Ventilators Noninvasive Other Devices= NI Other

## 3
| 0 |  |  |  |  | To Model
| Status |  | Inactive
| Select Therapy Type | [5 empty] | -
| Select Setting Type |  | Use Ref Setting
+
Reference Settings
| Total Gas |  |  | #N/A | LPM |  | +
| FiO2 |  |  | #N/A | %
| O2 Consumption |  |  | #N/A | LPM |  | -
| Air Consumption |  |  | #N/A | LPM
+
| Manual Settings | [6 empty] | Calculation Check
| Total Gas |  |  |  | LPM |  | + | O2 | = | 0 | x | #N/A | = | #N/A | LPM
| FiO2 |  |  |  | % |  |  | Air | = | 0 | x | #N/A | = | #N/A | LPM
| O2 Consumption |  |  | #N/A | LPM |  | - | Total Gas = |  |  | O2 + Air |  | = | #N/A | LPM
| Air Consumption |  |  | #N/A | LPM
| #N/A | Total Gas Check |  | #N/A | LPM
Data Used
| Total Gas |  |  | 0 | LPM
| FiO2 |  |  | 0% | %
| O2 Consumption |  |  | 0 | LPM
| Air Consumption |  |  | 0 | LPM
© 2020 The American Society for Health Care Engineering of the American Hospital Association 155 North Wacker Drive, Suite 400 ¦ Chicago, IL 60606 ¦ Phone: 312-422-3800 ¦ Email: ashe@aha.org ¦ Web: www.ashe.org
Note on B6: Key: MSN= Masks/Standard Nasal Cannula RVM= Reservoir Masks and Venturi Masks ICU Vent= Standard Invasive Ventilation HFNC= Noninvasive High Flow Oscill Vent= High Frequency Oscillating Ventilators Noninvasive Other Devices= NI Other

## 4
| 0 |  |  |  |  | To Model
| Status |  | Inactive
| Select Therapy Type | [5 empty] | -
| Select Setting Type |  | Use Ref Setting
+
Reference Settings
| Total Gas |  |  | #N/A | LPM |  | +
| FiO2 |  |  | #N/A | %
| O2 Consumption |  |  | #N/A | LPM |  | -
| Air Consumption |  |  | #N/A | LPM
+
| Manual Settings | [6 empty] | Calculation Check
| Total Gas |  |  |  | LPM |  | + | O2 | = | 0 | x | #N/A | = | #N/A | LPM
| FiO2 |  |  |  | % |  |  | Air | = | 0 | x | #N/A | = | #N/A | LPM
| O2 Consumption |  |  | #N/A | LPM |  | - | Total Gas = |  |  | O2 + Air |  | = | #N/A | LPM
| Air Consumption |  |  | #N/A | LPM
| #N/A | Total Gas Check |  | #N/A | LPM
Data Used
| Total Gas |  |  | 0 | LPM
| FiO2 |  |  | 0% | %
| O2 Consumption |  |  | 0 | LPM
| Air Consumption |  |  | 0 | LPM
© 2020 The American Society for Health Care Engineering of the American Hospital Association 155 North Wacker Drive, Suite 400 ¦ Chicago, IL 60606 ¦ Phone: 312-422-3800 ¦ Email: ashe@aha.org ¦ Web: www.ashe.org
Note on B6: Key: MSN= Masks/Standard Nasal Cannula RVM= Reservoir Masks and Venturi Masks ICU Vent= Standard Invasive Ventilation HFNC= Noninvasive High Flow Oscill Vent= High Frequency Oscillating Ventilators Noninvasive Other Devices= NI Other

## 5
| 0 |  |  |  |  | To Model
| Status |  | Inactive
| Select Therapy Type | [5 empty] | -
| Select Setting Type |  | Use Ref Setting
+
Reference Settings
| Total Gas |  |  | #N/A | LPM |  | +
| FiO2 |  |  | #N/A | %
| O2 Consumption |  |  | #N/A | LPM |  | -
| Air Consumption |  |  | #N/A | LPM
+
| Manual Settings | [6 empty] | Calculation Check
| Total Gas |  |  |  | LPM |  | + | O2 | = | 0 | x | #N/A | = | #N/A | LPM
| FiO2 |  |  |  | % |  |  | Air | = | 0 | x | #N/A | = | #N/A | LPM
| O2 Consumption |  |  | #N/A | LPM |  | - | Total Gas = |  |  | O2 + Air |  | = | #N/A | LPM
| Air Consumption |  |  | #N/A | LPM
| #N/A | Total Gas Check |  | #N/A | LPM
Data Used
| Total Gas |  |  | 0 | LPM
| FiO2 |  |  | 0% | %
| O2 Consumption |  |  | 0 | LPM
| Air Consumption |  |  | 0 | LPM
© 2020 The American Society for Health Care Engineering of the American Hospital Association 155 North Wacker Drive, Suite 400 ¦ Chicago, IL 60606 ¦ Phone: 312-422-3800 ¦ Email: ashe@aha.org ¦ Web: www.ashe.org
Note on B6: Key: MSN= Masks/Standard Nasal Cannula RVM= Reservoir Masks and Venturi Masks ICU Vent= Standard Invasive Ventilation HFNC= Noninvasive High Flow Oscill Vent= High Frequency Oscillating Ventilators Noninvasive Other Devices= NI Other

## 6
| 0 |  |  |  |  | To Model
| Status |  | Inactive
| Select Therapy Type | [5 empty] | -
| Select Setting Type |  | Use Ref Setting
+
Reference Settings
| Total Gas |  |  | #N/A | LPM |  | +
| FiO2 |  |  | #N/A | %
| O2 Consumption |  |  | #N/A | LPM |  | -
| Air Consumption |  |  | #N/A | LPM
+
| Manual Settings | [6 empty] | Calculation Check
| Total Gas |  |  |  | LPM |  | + | O2 | = | 0 | x | #N/A | = | #N/A | LPM
| FiO2 |  |  |  | % |  |  | Air | = | 0 | x | #N/A | = | #N/A | LPM
| O2 Consumption |  |  | #N/A | LPM |  | - | Total Gas = |  |  | O2 + Air |  | = | #N/A | LPM
| Air Consumption |  |  | #N/A | LPM
| #N/A | Total Gas Check |  | #N/A | LPM
Data Used
| Total Gas |  |  | 0 | LPM
| FiO2 |  |  | 0% | %
| O2 Consumption |  |  | 0 | LPM
| Air Consumption |  |  | 0 | LPM
© 2020 The American Society for Health Care Engineering of the American Hospital Association 155 North Wacker Drive, Suite 400 ¦ Chicago, IL 60606 ¦ Phone: 312-422-3800 ¦ Email: ashe@aha.org ¦ Web: www.ashe.org
Note on B6: Key: MSN= Masks/Standard Nasal Cannula RVM= Reservoir Masks and Venturi Masks ICU Vent= Standard Invasive Ventilation HFNC= Noninvasive High Flow Oscill Vent= High Frequency Oscillating Ventilators Noninvasive Other Devices= NI Other

## 7
| 0 |  |  |  |  | To Model
| Status |  | Inactive
| Select Therapy Type | [5 empty] | -
| Select Setting Type |  | Use Ref Setting
+
Reference Settings
| Total Gas |  |  | #N/A | LPM |  | +
| FiO2 |  |  | #N/A | %
| O2 Consumption |  |  | #N/A | LPM |  | -
| Air Consumption |  |  | #N/A | LPM
+
| Manual Settings | [6 empty] | Calculation Check
| Total Gas |  |  |  | LPM |  | + | O2 | = | 0 | x | #N/A | = | #N/A | LPM
| FiO2 |  |  |  | % |  |  | Air | = | 0 | x | #N/A | = | #N/A | LPM
| O2 Consumption |  |  | #N/A | LPM |  | - | Total Gas = |  |  | O2 + Air |  | = | #N/A | LPM
| Air Consumption |  |  | #N/A | LPM
| #N/A | Total Gas Check |  | #N/A | LPM
Data Used
| Total Gas |  |  | 0 | LPM
| FiO2 |  |  | 0% | %
| O2 Consumption |  |  | 0 | LPM
| Air Consumption |  |  | 0 | LPM
© 2020 The American Society for Health Care Engineering of the American Hospital Association 155 North Wacker Drive, Suite 400 ¦ Chicago, IL 60606 ¦ Phone: 312-422-3800 ¦ Email: ashe@aha.org ¦ Web: www.ashe.org
Note on B6: Key: MSN= Masks/Standard Nasal Cannula RVM= Reservoir Masks and Venturi Masks ICU Vent= Standard Invasive Ventilation HFNC= Noninvasive High Flow Oscill Vent= High Frequency Oscillating Ventilators Noninvasive Other Devices= NI Other

## 8
| 0 |  |  |  |  | To Model
| Status |  | Inactive
| Select Therapy Type | [5 empty] | -
| Select Setting Type |  | Use Ref Setting
+
Reference Settings
| Total Gas |  |  | #N/A | LPM |  | +
| FiO2 |  |  | #N/A | %
| O2 Consumption |  |  | #N/A | LPM |  | -
| Air Consumption |  |  | #N/A | LPM
+
| Manual Settings | [6 empty] | Calculation Check
| Total Gas |  |  |  | LPM |  | + | O2 | = | 0 | x | #N/A | = | #N/A | LPM
| FiO2 |  |  |  | % |  |  | Air | = | 0 | x | #N/A | = | #N/A | LPM
| O2 Consumption |  |  | #N/A | LPM |  | - | Total Gas = |  |  | O2 + Air |  | = | #N/A | LPM
| Air Consumption |  |  | #N/A | LPM
| #N/A | Total Gas Check |  | #N/A | LPM
Data Used
| Total Gas |  |  | 0 | LPM
| FiO2 |  |  | 0% | %
| O2 Consumption |  |  | 0 | LPM
| Air Consumption |  |  | 0 | LPM
© 2020 The American Society for Health Care Engineering of the American Hospital Association 155 North Wacker Drive, Suite 400 ¦ Chicago, IL 60606 ¦ Phone: 312-422-3800 ¦ Email: ashe@aha.org ¦ Web: www.ashe.org
Note on B6: Key: MSN= Masks/Standard Nasal Cannula RVM= Reservoir Masks and Venturi Masks ICU Vent= Standard Invasive Ventilation HFNC= Noninvasive High Flow Oscill Vent= High Frequency Oscillating Ventilators Noninvasive Other Devices= NI Other

## 9
| 0 |  |  |  |  | To Model
| Status |  | Inactive
| Select Therapy Type | [5 empty] | -
| Select Setting Type |  | Use Ref Setting
+
Reference Settings
| Total Gas |  |  | #N/A | LPM |  | +
| FiO2 |  |  | #N/A | %
| O2 Consumption |  |  | #N/A | LPM |  | -
| Air Consumption |  |  | #N/A | LPM
+
| Manual Settings | [6 empty] | Calculation Check
| Total Gas |  |  |  | LPM |  | + | O2 | = | 0 | x | #N/A | = | #N/A | LPM
| FiO2 |  |  |  | % |  |  | Air | = | 0 | x | #N/A | = | #N/A | LPM
| O2 Consumption |  |  | #N/A | LPM |  | - | Total Gas = |  |  | O2 + Air |  | = | #N/A | LPM
| Air Consumption |  |  | #N/A | LPM
| #N/A | Total Gas Check |  | #N/A | LPM
Data Used
| Total Gas |  |  | 0 | LPM
| FiO2 |  |  | 0% | %
| O2 Consumption |  |  | 0 | LPM
| Air Consumption |  |  | 0 | LPM
© 2020 The American Society for Health Care Engineering of the American Hospital Association 155 North Wacker Drive, Suite 400 ¦ Chicago, IL 60606 ¦ Phone: 312-422-3800 ¦ Email: ashe@aha.org ¦ Web: www.ashe.org
Note on B6: Key: MSN= Masks/Standard Nasal Cannula RVM= Reservoir Masks and Venturi Masks ICU Vent= Standard Invasive Ventilation HFNC= Noninvasive High Flow Oscill Vent= High Frequency Oscillating Ventilators Noninvasive Other Devices= NI Other

## 10
| 0 |  |  |  |  | To Model
| Status |  | Inactive
| Select Therapy Type | [5 empty] | -
| Select Setting Type |  | Use Ref Setting
+
Reference Settings
| Total Gas |  |  | #N/A | LPM |  | +
| FiO2 |  |  | #N/A | %
| O2 Consumption |  |  | #N/A | LPM |  | -
| Air Consumption |  |  | #N/A | LPM
+
| Manual Settings | [6 empty] | Calculation Check
| Total Gas |  |  |  | LPM |  | + | O2 | = | 0 | x | #N/A | = | #N/A | LPM
| FiO2 |  |  |  | % |  |  | Air | = | 0 | x | #N/A | = | #N/A | LPM
| O2 Consumption |  |  | #N/A | LPM |  | - | Total Gas = |  |  | O2 + Air |  | = | #N/A | LPM
| Air Consumption |  |  | #N/A | LPM
| #N/A | Total Gas Check |  | #N/A | LPM
Data Used
| Total Gas |  |  | 0 | LPM
| FiO2 |  |  | 0% | %
| O2 Consumption |  |  | 0 | LPM
| Air Consumption |  |  | 0 | LPM
© 2020 The American Society for Health Care Engineering of the American Hospital Association 155 North Wacker Drive, Suite 400 ¦ Chicago, IL 60606 ¦ Phone: 312-422-3800 ¦ Email: ashe@aha.org ¦ Web: www.ashe.org
Note on B6: Key: MSN= Masks/Standard Nasal Cannula RVM= Reservoir Masks and Venturi Masks ICU Vent= Standard Invasive Ventilation HFNC= Noninvasive High Flow Oscill Vent= High Frequency Oscillating Ventilators Noninvasive Other Devices= NI Other

## 11
| 0 |  |  |  |  | To Model
| Status |  | Inactive
| Select Therapy Type | [5 empty] | -
| Select Setting Type |  | Use Ref Setting
+
Reference Settings
| Total Gas |  |  | #N/A | LPM |  | +
| FiO2 |  |  | #N/A | %
| O2 Consumption |  |  | #N/A | LPM |  | -
| Air Consumption |  |  | #N/A | LPM
+
| Manual Settings | [6 empty] | Calculation Check
| Total Gas |  |  |  | LPM |  | + | O2 | = | 0 | x | #N/A | = | #N/A | LPM
| FiO2 |  |  |  | % |  |  | Air | = | 0 | x | #N/A | = | #N/A | LPM
| O2 Consumption |  |  | #N/A | LPM |  | - | Total Gas = |  |  | O2 + Air |  | = | #N/A | LPM
| Air Consumption |  |  | #N/A | LPM
| #N/A | Total Gas Check |  | #N/A | LPM
Data Used
| Total Gas |  |  | 0 | LPM
| FiO2 |  |  | 0% | %
| O2 Consumption |  |  | 0 | LPM
| Air Consumption |  |  | 0 | LPM
© 2020 The American Society for Health Care Engineering of the American Hospital Association 155 North Wacker Drive, Suite 400 ¦ Chicago, IL 60606 ¦ Phone: 312-422-3800 ¦ Email: ashe@aha.org ¦ Web: www.ashe.org
Note on B6: Key: MSN= Masks/Standard Nasal Cannula RVM= Reservoir Masks and Venturi Masks ICU Vent= Standard Invasive Ventilation HFNC= Noninvasive High Flow Oscill Vent= High Frequency Oscillating Ventilators Noninvasive Other Devices= NI Other

## 12
| 0 |  |  |  |  | To Model
| Status |  | Inactive
| Select Therapy Type | [5 empty] | -
| Select Setting Type |  | Use Ref Setting
+
Reference Settings
| Total Gas |  |  | #N/A | LPM |  | +
| FiO2 |  |  | #N/A | %
| O2 Consumption |  |  | #N/A | LPM |  | -
| Air Consumption |  |  | #N/A | LPM
+
| Manual Settings | [6 empty] | Calculation Check
| Total Gas |  |  |  | LPM |  | + | O2 | = | 0 | x | #N/A | = | #N/A | LPM
| FiO2 |  |  |  | % |  |  | Air | = | 0 | x | #N/A | = | #N/A | LPM
| O2 Consumption |  |  | #N/A | LPM |  | - | Total Gas = |  |  | O2 + Air |  | = | #N/A | LPM
| Air Consumption |  |  | #N/A | LPM
| #N/A | Total Gas Check |  | #N/A | LPM
Data Used
| Total Gas |  |  | 0 | LPM
| FiO2 |  |  | 0% | %
| O2 Consumption |  |  | 0 | LPM
| Air Consumption |  |  | 0 | LPM
© 2020 The American Society for Health Care Engineering of the American Hospital Association 155 North Wacker Drive, Suite 400 ¦ Chicago, IL 60606 ¦ Phone: 312-422-3800 ¦ Email: ashe@aha.org ¦ Web: www.ashe.org
Note on B6: Key: MSN= Masks/Standard Nasal Cannula RVM= Reservoir Masks and Venturi Masks ICU Vent= Standard Invasive Ventilation HFNC= Noninvasive High Flow Oscill Vent= High Frequency Oscillating Ventilators Noninvasive Other Devices= NI Other

## 13
| 0 |  |  |  |  | To Model
| Status |  | Inactive
| Select Therapy Type | [5 empty] | -
| Select Setting Type |  | Use Ref Setting
+
Reference Settings
| Total Gas |  |  | #N/A | LPM |  | +
| FiO2 |  |  | #N/A | %
| O2 Consumption |  |  | #N/A | LPM |  | -
| Air Consumption |  |  | #N/A | LPM
+
| Manual Settings | [6 empty] | Calculation Check
| Total Gas |  |  |  | LPM |  | + | O2 | = | 0 | x | #N/A | = | #N/A | LPM
| FiO2 |  |  |  | % |  |  | Air | = | 0 | x | #N/A | = | #N/A | LPM
| O2 Consumption |  |  | #N/A | LPM |  | - | Total Gas = |  |  | O2 + Air |  | = | #N/A | LPM
| Air Consumption |  |  | #N/A | LPM
| #N/A | Total Gas Check |  | #N/A | LPM
Data Used
| Total Gas |  |  | 0 | LPM
| FiO2 |  |  | 0% | %
| O2 Consumption |  |  | 0 | LPM
| Air Consumption |  |  | 0 | LPM
© 2020 The American Society for Health Care Engineering of the American Hospital Association 155 North Wacker Drive, Suite 400 ¦ Chicago, IL 60606 ¦ Phone: 312-422-3800 ¦ Email: ashe@aha.org ¦ Web: www.ashe.org
Note on B6: Key: MSN= Masks/Standard Nasal Cannula RVM= Reservoir Masks and Venturi Masks ICU Vent= Standard Invasive Ventilation HFNC= Noninvasive High Flow Oscill Vent= High Frequency Oscillating Ventilators Noninvasive Other Devices= NI Other

## 14
| 0 |  |  |  |  | To Model
| Status |  | Inactive
| Select Therapy Type | [5 empty] | -
| Select Setting Type |  | Use Ref Setting
+
Reference Settings
| Total Gas |  |  | #N/A | LPM |  | +
| FiO2 |  |  | #N/A | %
| O2 Consumption |  |  | #N/A | LPM |  | -
| Air Consumption |  |  | #N/A | LPM
+
| Manual Settings | [6 empty] | Calculation Check
| Total Gas |  |  |  | LPM |  | + | O2 | = | 0 | x | #N/A | = | #N/A | LPM
| FiO2 |  |  |  | % |  |  | Air | = | 0 | x | #N/A | = | #N/A | LPM
| O2 Consumption |  |  | #N/A | LPM |  | - | Total Gas = |  |  | O2 + Air |  | = | #N/A | LPM
| Air Consumption |  |  | #N/A | LPM
| #N/A | Total Gas Check |  | #N/A | LPM
Data Used
| Total Gas |  |  | 0 | LPM
| FiO2 |  |  | 0% | %
| O2 Consumption |  |  | 0 | LPM
| Air Consumption |  |  | 0 | LPM
© 2020 The American Society for Health Care Engineering of the American Hospital Association 155 North Wacker Drive, Suite 400 ¦ Chicago, IL 60606 ¦ Phone: 312-422-3800 ¦ Email: ashe@aha.org ¦ Web: www.ashe.org
Note on B6: Key: MSN= Masks/Standard Nasal Cannula RVM= Reservoir Masks and Venturi Masks ICU Vent= Standard Invasive Ventilation HFNC= Noninvasive High Flow Oscill Vent= High Frequency Oscillating Ventilators Noninvasive Other Devices= NI Other

## 15
| 0 |  |  |  |  | To Model
| Status |  | Inactive
| Select Therapy Type | [5 empty] | -
| Select Setting Type |  | Use Ref Setting
+
Reference Settings
| Total Gas |  |  | #N/A | LPM |  | +
| FiO2 |  |  | #N/A | %
| O2 Consumption |  |  | #N/A | LPM |  | -
| Air Consumption |  |  | #N/A | LPM
+
| Manual Settings | [6 empty] | Calculation Check
| Total Gas |  |  |  | LPM |  | + | O2 | = | 0 | x | #N/A | = | #N/A | LPM
| FiO2 |  |  |  | % |  |  | Air | = | 0 | x | #N/A | = | #N/A | LPM
| O2 Consumption |  |  | #N/A | LPM |  | - | Total Gas = |  |  | O2 + Air |  | = | #N/A | LPM
| Air Consumption |  |  | #N/A | LPM
| #N/A | Total Gas Check |  | #N/A | LPM
Data Used
| Total Gas |  |  | 0 | LPM
| FiO2 |  |  | 0% | %
| O2 Consumption |  |  | 0 | LPM
| Air Consumption |  |  | 0 | LPM
© 2020 The American Society for Health Care Engineering of the American Hospital Association 155 North Wacker Drive, Suite 400 ¦ Chicago, IL 60606 ¦ Phone: 312-422-3800 ¦ Email: ashe@aha.org ¦ Web: www.ashe.org
Note on B6: Key: MSN= Masks/Standard Nasal Cannula RVM= Reservoir Masks and Venturi Masks ICU Vent= Standard Invasive Ventilation HFNC= Noninvasive High Flow Oscill Vent= High Frequency Oscillating Ventilators Noninvasive Other Devices= NI Other

## 16
| 0 |  |  |  |  | To Model
| Status |  | Inactive
| Select Therapy Type | [5 empty] | -
| Select Setting Type |  | Use Ref Setting
+
Reference Settings
| Total Gas |  |  | #N/A | LPM |  | +
| FiO2 |  |  | #N/A | %
| O2 Consumption |  |  | #N/A | LPM |  | -
| Air Consumption |  |  | #N/A | LPM
+
| Manual Settings | [6 empty] | Calculation Check
| Total Gas |  |  |  | LPM |  | + | O2 | = | 0 | x | #N/A | = | #N/A | LPM
| FiO2 |  |  |  | % |  |  | Air | = | 0 | x | #N/A | = | #N/A | LPM
| O2 Consumption |  |  | #N/A | LPM |  | - | Total Gas = |  |  | O2 + Air |  | = | #N/A | LPM
| Air Consumption |  |  | #N/A | LPM
| #N/A | Total Gas Check |  | #N/A | LPM
Data Used
| Total Gas |  |  | 0 | LPM
| FiO2 |  |  | 0% | %
| O2 Consumption |  |  | 0 | LPM
| Air Consumption |  |  | 0 | LPM
© 2020 The American Society for Health Care Engineering of the American Hospital Association 155 North Wacker Drive, Suite 400 ¦ Chicago, IL 60606 ¦ Phone: 312-422-3800 ¦ Email: ashe@aha.org ¦ Web: www.ashe.org
Note on B6: Key: MSN= Masks/Standard Nasal Cannula RVM= Reservoir Masks and Venturi Masks ICU Vent= Standard Invasive Ventilation HFNC= Noninvasive High Flow Oscill Vent= High Frequency Oscillating Ventilators Noninvasive Other Devices= NI Other

## 17
| 0 |  |  |  |  | To Model
| Status |  | Inactive
| Select Therapy Type | [5 empty] | -
| Select Setting Type |  | Use Ref Setting
+
Reference Settings
| Total Gas |  |  | #N/A | LPM |  | +
| FiO2 |  |  | #N/A | %
| O2 Consumption |  |  | #N/A | LPM |  | -
| Air Consumption |  |  | #N/A | LPM
+
| Manual Settings | [6 empty] | Calculation Check
| Total Gas |  |  |  | LPM |  | + | O2 | = | 0 | x | #N/A | = | #N/A | LPM
| FiO2 |  |  |  | % |  |  | Air | = | 0 | x | #N/A | = | #N/A | LPM
| O2 Consumption |  |  | #N/A | LPM |  | - | Total Gas = |  |  | O2 + Air |  | = | #N/A | LPM
| Air Consumption |  |  | #N/A | LPM
| #N/A | Total Gas Check |  | #N/A | LPM
Data Used
| Total Gas |  |  | 0 | LPM
| FiO2 |  |  | 0% | %
| O2 Consumption |  |  | 0 | LPM
| Air Consumption |  |  | 0 | LPM
© 2020 The American Society for Health Care Engineering of the American Hospital Association 155 North Wacker Drive, Suite 400 ¦ Chicago, IL 60606 ¦ Phone: 312-422-3800 ¦ Email: ashe@aha.org ¦ Web: www.ashe.org
Note on B6: Key: MSN= Masks/Standard Nasal Cannula RVM= Reservoir Masks and Venturi Masks ICU Vent= Standard Invasive Ventilation HFNC= Noninvasive High Flow Oscill Vent= High Frequency Oscillating Ventilators Noninvasive Other Devices= NI Other

## 18
| 0 |  |  |  |  | To Model
| Status |  | Inactive
| Select Therapy Type | [5 empty] | -
| Select Setting Type |  | Use Ref Setting
+
Reference Settings
| Total Gas |  |  | #N/A | LPM |  | +
| FiO2 |  |  | #N/A | %
| O2 Consumption |  |  | #N/A | LPM |  | -
| Air Consumption |  |  | #N/A | LPM
+
| Manual Settings | [6 empty] | Calculation Check
| Total Gas |  |  |  | LPM |  | + | O2 | = | 0 | x | #N/A | = | #N/A | LPM
| FiO2 |  |  |  | % |  |  | Air | = | 0 | x | #N/A | = | #N/A | LPM
| O2 Consumption |  |  | #N/A | LPM |  | - | Total Gas = |  |  | O2 + Air |  | = | #N/A | LPM
| Air Consumption |  |  | #N/A | LPM
| #N/A | Total Gas Check |  | #N/A | LPM
Data Used
| Total Gas |  |  | 0 | LPM
| FiO2 |  |  | 0% | %
| O2 Consumption |  |  | 0 | LPM
| Air Consumption |  |  | 0 | LPM
© 2020 The American Society for Health Care Engineering of the American Hospital Association 155 North Wacker Drive, Suite 400 ¦ Chicago, IL 60606 ¦ Phone: 312-422-3800 ¦ Email: ashe@aha.org ¦ Web: www.ashe.org
Note on B6: Key: MSN= Masks/Standard Nasal Cannula RVM= Reservoir Masks and Venturi Masks ICU Vent= Standard Invasive Ventilation HFNC= Noninvasive High Flow Oscill Vent= High Frequency Oscillating Ventilators Noninvasive Other Devices= NI Other

## 19
| 0 |  |  |  |  | To Model
| Status |  | Inactive
| Select Therapy Type | [5 empty] | -
| Select Setting Type |  | Use Ref Setting
+
Reference Settings
| Total Gas |  |  | #N/A | LPM |  | +
| FiO2 |  |  | #N/A | %
| O2 Consumption |  |  | #N/A | LPM |  | -
| Air Consumption |  |  | #N/A | LPM
+
| Manual Settings | [6 empty] | Calculation Check
| Total Gas |  |  |  | LPM |  | + | O2 | = | 0 | x | #N/A | = | #N/A | LPM
| FiO2 |  |  |  | % |  |  | Air | = | 0 | x | #N/A | = | #N/A | LPM
| O2 Consumption |  |  | #N/A | LPM |  | - | Total Gas = |  |  | O2 + Air |  | = | #N/A | LPM
| Air Consumption |  |  | #N/A | LPM
| #N/A | Total Gas Check |  | #N/A | LPM
Data Used
| Total Gas |  |  | 0 | LPM
| FiO2 |  |  | 0% | %
| O2 Consumption |  |  | 0 | LPM
| Air Consumption |  |  | 0 | LPM
© 2020 The American Society for Health Care Engineering of the American Hospital Association 155 North Wacker Drive, Suite 400 ¦ Chicago, IL 60606 ¦ Phone: 312-422-3800 ¦ Email: ashe@aha.org ¦ Web: www.ashe.org
Note on B6: Key: MSN= Masks/Standard Nasal Cannula RVM= Reservoir Masks and Venturi Masks ICU Vent= Standard Invasive Ventilation HFNC= Noninvasive High Flow Oscill Vent= High Frequency Oscillating Ventilators Noninvasive Other Devices= NI Other

## 20
| 0 |  |  |  |  | To Model
| Status |  | Inactive
| Select Therapy Type | [5 empty] | -
| Select Setting Type |  | Use Ref Setting
+
Reference Settings
| Total Gas |  |  | #N/A | LPM |  | +
| FiO2 |  |  | #N/A | %
| O2 Consumption |  |  | #N/A | LPM |  | -
| Air Consumption |  |  | #N/A | LPM
+
| Manual Settings | [6 empty] | Calculation Check
| Total Gas |  |  |  | LPM |  | + | O2 | = | 0 | x | #N/A | = | #N/A | LPM
| FiO2 |  |  |  | % |  |  | Air | = | 0 | x | #N/A | = | #N/A | LPM
| O2 Consumption |  |  | #N/A | LPM |  | - | Total Gas = |  |  | O2 + Air |  | = | #N/A | LPM
| Air Consumption |  |  | #N/A | LPM
| #N/A | Total Gas Check |  | #N/A | LPM
Data Used
| Total Gas |  |  | 0 | LPM
| FiO2 |  |  | 0% | %
| O2 Consumption |  |  | 0 | LPM
| Air Consumption |  |  | 0 | LPM
© 2020 The American Society for Health Care Engineering of the American Hospital Association 155 North Wacker Drive, Suite 400 ¦ Chicago, IL 60606 ¦ Phone: 312-422-3800 ¦ Email: ashe@aha.org ¦ Web: www.ashe.org
Note on B6: Key: MSN= Masks/Standard Nasal Cannula RVM= Reservoir Masks and Venturi Masks ICU Vent= Standard Invasive Ventilation HFNC= Noninvasive High Flow Oscill Vent= High Frequency Oscillating Ventilators Noninvasive Other Devices= NI Other

## 21
| 0 |  |  |  |  | To Model
| Status |  | Inactive
| Select Therapy Type | [5 empty] | -
| Select Setting Type |  | Use Ref Setting
+
Reference Settings
| Total Gas |  |  | #N/A | LPM |  | +
| FiO2 |  |  | #N/A | %
| O2 Consumption |  |  | #N/A | LPM |  | -
| Air Consumption |  |  | #N/A | LPM
+
| Manual Settings | [6 empty] | Calculation Check
| Total Gas |  |  |  | LPM |  | + | O2 | = | 0 | x | #N/A | = | #N/A | LPM
| FiO2 |  |  |  | % |  |  | Air | = | 0 | x | #N/A | = | #N/A | LPM
| O2 Consumption |  |  | #N/A | LPM |  | - | Total Gas = |  |  | O2 + Air |  | = | #N/A | LPM
| Air Consumption |  |  | #N/A | LPM
| #N/A | Total Gas Check |  | #N/A | LPM
Data Used
| Total Gas |  |  | 0 | LPM
| FiO2 |  |  | 0% | %
| O2 Consumption |  |  | 0 | LPM
| Air Consumption |  |  | 0 | LPM
© 2020 The American Society for Health Care Engineering of the American Hospital Association 155 North Wacker Drive, Suite 400 ¦ Chicago, IL 60606 ¦ Phone: 312-422-3800 ¦ Email: ashe@aha.org ¦ Web: www.ashe.org
Note on B6: Key: MSN= Masks/Standard Nasal Cannula RVM= Reservoir Masks and Venturi Masks ICU Vent= Standard Invasive Ventilation HFNC= Noninvasive High Flow Oscill Vent= High Frequency Oscillating Ventilators Noninvasive Other Devices= NI Other

## 22
| 0 |  |  |  |  | To Model
| Status |  | Inactive
| Select Therapy Type | [5 empty] | -
| Select Setting Type |  | Use Ref Setting
+
Reference Settings
| Total Gas |  |  | #N/A | LPM |  | +
| FiO2 |  |  | #N/A | %
| O2 Consumption |  |  | #N/A | LPM |  | -
| Air Consumption |  |  | #N/A | LPM
+
| Manual Settings | [6 empty] | Calculation Check
| Total Gas |  |  |  | LPM |  | + | O2 | = | 0 | x | #N/A | = | #N/A | LPM
| FiO2 |  |  |  | % |  |  | Air | = | 0 | x | #N/A | = | #N/A | LPM
| O2 Consumption |  |  | #N/A | LPM |  | - | Total Gas = |  |  | O2 + Air |  | = | #N/A | LPM
| Air Consumption |  |  | #N/A | LPM
| #N/A | Total Gas Check |  | #N/A | LPM
Data Used
| Total Gas |  |  | 0 | LPM
| FiO2 |  |  | 0% | %
| O2 Consumption |  |  | 0 | LPM
| Air Consumption |  |  | 0 | LPM
© 2020 The American Society for Health Care Engineering of the American Hospital Association 155 North Wacker Drive, Suite 400 ¦ Chicago, IL 60606 ¦ Phone: 312-422-3800 ¦ Email: ashe@aha.org ¦ Web: www.ashe.org
Note on B6: Key: MSN= Masks/Standard Nasal Cannula RVM= Reservoir Masks and Venturi Masks ICU Vent= Standard Invasive Ventilation HFNC= Noninvasive High Flow Oscill Vent= High Frequency Oscillating Ventilators Noninvasive Other Devices= NI Other

## 23
| 0 |  |  |  |  | To Model
| Status |  | Inactive
| Select Therapy Type | [5 empty] | -
| Select Setting Type |  | Use Ref Setting
+
Reference Settings
| Total Gas |  |  | #N/A | LPM |  | +
| FiO2 |  |  | #N/A | %
| O2 Consumption |  |  | #N/A | LPM |  | -
| Air Consumption |  |  | #N/A | LPM
+
| Manual Settings | [6 empty] | Calculation Check
| Total Gas |  |  |  | LPM |  | + | O2 | = | 0 | x | #N/A | = | #N/A | LPM
| FiO2 |  |  |  | % |  |  | Air | = | 0 | x | #N/A | = | #N/A | LPM
| O2 Consumption |  |  | #N/A | LPM |  | - | Total Gas = |  |  | O2 + Air |  | = | #N/A | LPM
| Air Consumption |  |  | #N/A | LPM
| #N/A | Total Gas Check |  | #N/A | LPM
Data Used
| Total Gas |  |  | 0 | LPM
| FiO2 |  |  | 0% | %
| O2 Consumption |  |  | 0 | LPM
| Air Consumption |  |  | 0 | LPM
© 2020 The American Society for Health Care Engineering of the American Hospital Association 155 North Wacker Drive, Suite 400 ¦ Chicago, IL 60606 ¦ Phone: 312-422-3800 ¦ Email: ashe@aha.org ¦ Web: www.ashe.org
Note on B6: Key: MSN= Masks/Standard Nasal Cannula RVM= Reservoir Masks and Venturi Masks ICU Vent= Standard Invasive Ventilation HFNC= Noninvasive High Flow Oscill Vent= High Frequency Oscillating Ventilators Noninvasive Other Devices= NI Other

## 24
| 0 |  |  |  |  | To Model
| Status |  | Inactive
| Select Therapy Type | [5 empty] | -
| Select Setting Type |  | Use Ref Setting
+
Reference Settings
| Total Gas |  |  | #N/A | LPM |  | +
| FiO2 |  |  | #N/A | %
| O2 Consumption |  |  | #N/A | LPM |  | -
| Air Consumption |  |  | #N/A | LPM
+
| Manual Settings | [6 empty] | Calculation Check
| Total Gas |  |  |  | LPM |  | + | O2 | = | 0 | x | #N/A | = | #N/A | LPM
| FiO2 |  |  |  | % |  |  | Air | = | 0 | x | #N/A | = | #N/A | LPM
| O2 Consumption |  |  | #N/A | LPM |  | - | Total Gas = |  |  | O2 + Air |  | = | #N/A | LPM
| Air Consumption |  |  | #N/A | LPM
| #N/A | Total Gas Check |  | #N/A | LPM
Data Used
| Total Gas |  |  | 0 | LPM
| FiO2 |  |  | 0% | %
| O2 Consumption |  |  | 0 | LPM
| Air Consumption |  |  | 0 | LPM
© 2020 The American Society for Health Care Engineering of the American Hospital Association 155 North Wacker Drive, Suite 400 ¦ Chicago, IL 60606 ¦ Phone: 312-422-3800 ¦ Email: ashe@aha.org ¦ Web: www.ashe.org
Note on B6: Key: MSN= Masks/Standard Nasal Cannula RVM= Reservoir Masks and Venturi Masks ICU Vent= Standard Invasive Ventilation HFNC= Noninvasive High Flow Oscill Vent= High Frequency Oscillating Ventilators Noninvasive Other Devices= NI Other

## 25
| 0 |  |  |  |  | To Model
| Status |  | Inactive
| Select Therapy Type | [5 empty] | -
| Select Setting Type |  | Use Ref Setting
+
Reference Settings
| Total Gas |  |  | #N/A | LPM |  | +
| FiO2 |  |  | #N/A | %
| O2 Consumption |  |  | #N/A | LPM |  | -
| Air Consumption |  |  | #N/A | LPM
+
| Manual Settings | [6 empty] | Calculation Check
| Total Gas |  |  |  | LPM |  | + | O2 | = | 0 | x | #N/A | = | #N/A | LPM
| FiO2 |  |  |  | % |  |  | Air | = | 0 | x | #N/A | = | #N/A | LPM
| O2 Consumption |  |  | #N/A | LPM |  | - | Total Gas = |  |  | O2 + Air |  | = | #N/A | LPM
| Air Consumption |  |  | #N/A | LPM
| #N/A | Total Gas Check |  | #N/A | LPM
Data Used
| Total Gas |  |  | 0 | LPM
| FiO2 |  |  | 0% | %
| O2 Consumption |  |  | 0 | LPM
| Air Consumption |  |  | 0 | LPM
© 2020 The American Society for Health Care Engineering of the American Hospital Association 155 North Wacker Drive, Suite 400 ¦ Chicago, IL 60606 ¦ Phone: 312-422-3800 ¦ Email: ashe@aha.org ¦ Web: www.ashe.org
Note on B6: Key: MSN= Masks/Standard Nasal Cannula RVM= Reservoir Masks and Venturi Masks ICU Vent= Standard Invasive Ventilation HFNC= Noninvasive High Flow Oscill Vent= High Frequency Oscillating Ventilators Noninvasive Other Devices= NI Other

## 26
| 0 |  |  |  |  | To Model
| Status |  | Inactive
| Select Therapy Type | [5 empty] | -
| Select Setting Type |  | Use Ref Setting
+
Reference Settings
| Total Gas |  |  | #N/A | LPM |  | +
| FiO2 |  |  | #N/A | %
| O2 Consumption |  |  | #N/A | LPM |  | -
| Air Consumption |  |  | #N/A | LPM
+
| Manual Settings | [6 empty] | Calculation Check
| Total Gas |  |  |  | LPM |  | + | O2 | = | 0 | x | #N/A | = | #N/A | LPM
| FiO2 |  |  |  | % |  |  | Air | = | 0 | x | #N/A | = | #N/A | LPM
| O2 Consumption |  |  | #N/A | LPM |  | - | Total Gas = |  |  | O2 + Air |  | = | #N/A | LPM
| Air Consumption |  |  | #N/A | LPM
| #N/A | Total Gas Check |  | #N/A | LPM
Data Used
| Total Gas |  |  | 0 | LPM
| FiO2 |  |  | 0% | %
| O2 Consumption |  |  | 0 | LPM
| Air Consumption |  |  | 0 | LPM
© 2020 The American Society for Health Care Engineering of the American Hospital Association 155 North Wacker Drive, Suite 400 ¦ Chicago, IL 60606 ¦ Phone: 312-422-3800 ¦ Email: ashe@aha.org ¦ Web: www.ashe.org
Note on B6: Key: MSN= Masks/Standard Nasal Cannula RVM= Reservoir Masks and Venturi Masks ICU Vent= Standard Invasive Ventilation HFNC= Noninvasive High Flow Oscill Vent= High Frequency Oscillating Ventilators Noninvasive Other Devices= NI Other

## 27
| 0 |  |  |  |  | To Model
| Status |  | Inactive
| Select Therapy Type | [5 empty] | -
| Select Setting Type |  | Use Ref Setting
+
Reference Settings
| Total Gas |  |  | #N/A | LPM |  | +
| FiO2 |  |  | #N/A | %
| O2 Consumption |  |  | #N/A | LPM |  | -
| Air Consumption |  |  | #N/A | LPM
+
| Manual Settings | [6 empty] | Calculation Check
| Total Gas |  |  |  | LPM |  | + | O2 | = | 0 | x | #N/A | = | #N/A | LPM
| FiO2 |  |  |  | % |  |  | Air | = | 0 | x | #N/A | = | #N/A | LPM
| O2 Consumption |  |  | #N/A | LPM |  | - | Total Gas = |  |  | O2 + Air |  | = | #N/A | LPM
| Air Consumption |  |  | #N/A | LPM
| #N/A | Total Gas Check |  | #N/A | LPM
Data Used
| Total Gas |  |  | 0 | LPM
| FiO2 |  |  | 0% | %
| O2 Consumption |  |  | 0 | LPM
| Air Consumption |  |  | 0 | LPM
© 2020 The American Society for Health Care Engineering of the American Hospital Association 155 North Wacker Drive, Suite 400 ¦ Chicago, IL 60606 ¦ Phone: 312-422-3800 ¦ Email: ashe@aha.org ¦ Web: www.ashe.org
Note on B6: Key: MSN= Masks/Standard Nasal Cannula RVM= Reservoir Masks and Venturi Masks ICU Vent= Standard Invasive Ventilation HFNC= Noninvasive High Flow Oscill Vent= High Frequency Oscillating Ventilators Noninvasive Other Devices= NI Other

## 28
| 0 |  |  |  |  | To Model
| Status |  | Inactive
| Select Therapy Type | [5 empty] | -
| Select Setting Type |  | Use Ref Setting
+
Reference Settings
| Total Gas |  |  | #N/A | LPM |  | +
| FiO2 |  |  | #N/A | %
| O2 Consumption |  |  | #N/A | LPM |  | -
| Air Consumption |  |  | #N/A | LPM
+
| Manual Settings | [6 empty] | Calculation Check
| Total Gas |  |  |  | LPM |  | + | O2 | = | 0 | x | #N/A | = | #N/A | LPM
| FiO2 |  |  |  | % |  |  | Air | = | 0 | x | #N/A | = | #N/A | LPM
| O2 Consumption |  |  | #N/A | LPM |  | - | Total Gas = |  |  | O2 + Air |  | = | #N/A | LPM
| Air Consumption |  |  | #N/A | LPM
| #N/A | Total Gas Check |  | #N/A | LPM
Data Used
| Total Gas |  |  | 0 | LPM
| FiO2 |  |  | 0% | %
| O2 Consumption |  |  | 0 | LPM
| Air Consumption |  |  | 0 | LPM
© 2020 The American Society for Health Care Engineering of the American Hospital Association 155 North Wacker Drive, Suite 400 ¦ Chicago, IL 60606 ¦ Phone: 312-422-3800 ¦ Email: ashe@aha.org ¦ Web: www.ashe.org
Note on B6: Key: MSN= Masks/Standard Nasal Cannula RVM= Reservoir Masks and Venturi Masks ICU Vent= Standard Invasive Ventilation HFNC= Noninvasive High Flow Oscill Vent= High Frequency Oscillating Ventilators Noninvasive Other Devices= NI Other

## 29
| 0 |  |  |  |  | To Model
| Status |  | Inactive
| Select Therapy Type | [5 empty] | -
| Select Setting Type |  | Use Ref Setting
+
Reference Settings
| Total Gas |  |  | #N/A | LPM |  | +
| FiO2 |  |  | #N/A | %
| O2 Consumption |  |  | #N/A | LPM |  | -
| Air Consumption |  |  | #N/A | LPM
+
| Manual Settings | [6 empty] | Calculation Check
| Total Gas |  |  |  | LPM |  | + | O2 | = | 0 | x | #N/A | = | #N/A | LPM
| FiO2 |  |  |  | % |  |  | Air | = | 0 | x | #N/A | = | #N/A | LPM
| O2 Consumption |  |  | #N/A | LPM |  | - | Total Gas = |  |  | O2 + Air |  | = | #N/A | LPM
| Air Consumption |  |  | #N/A | LPM
| #N/A | Total Gas Check |  | #N/A | LPM
Data Used
| Total Gas |  |  | 0 | LPM
| FiO2 |  |  | 0% | %
| O2 Consumption |  |  | 0 | LPM
| Air Consumption |  |  | 0 | LPM
© 2020 The American Society for Health Care Engineering of the American Hospital Association 155 North Wacker Drive, Suite 400 ¦ Chicago, IL 60606 ¦ Phone: 312-422-3800 ¦ Email: ashe@aha.org ¦ Web: www.ashe.org
Note on B6: Key: MSN= Masks/Standard Nasal Cannula RVM= Reservoir Masks and Venturi Masks ICU Vent= Standard Invasive Ventilation HFNC= Noninvasive High Flow Oscill Vent= High Frequency Oscillating Ventilators Noninvasive Other Devices= NI Other

## 30
| 0 |  |  |  |  | To Model
| Status |  | Inactive
| Select Therapy Type | [5 empty] | -
| Select Setting Type |  | Use Ref Setting
+
Reference Settings
| Total Gas |  |  | #N/A | LPM |  | +
| FiO2 |  |  | #N/A | %
| O2 Consumption |  |  | #N/A | LPM |  | -
| Air Consumption |  |  | #N/A | LPM
+
| Manual Settings | [6 empty] | Calculation Check
| Total Gas |  |  |  | LPM |  | + | O2 | = | 0 | x | #N/A | = | #N/A | LPM
| FiO2 |  |  |  | % |  |  | Air | = | 0 | x | #N/A | = | #N/A | LPM
| O2 Consumption |  |  | #N/A | LPM |  | - | Total Gas = |  |  | O2 + Air |  | = | #N/A | LPM
| Air Consumption |  |  | #N/A | LPM
| #N/A | Total Gas Check |  | #N/A | LPM
Data Used
| Total Gas |  |  | 0 | LPM
| FiO2 |  |  | 0% | %
| O2 Consumption |  |  | 0 | LPM
| Air Consumption |  |  | 0 | LPM
© 2020 The American Society for Health Care Engineering of the American Hospital Association 155 North Wacker Drive, Suite 400 ¦ Chicago, IL 60606 ¦ Phone: 312-422-3800 ¦ Email: ashe@aha.org ¦ Web: www.ashe.org
Note on B6: Key: MSN= Masks/Standard Nasal Cannula RVM= Reservoir Masks and Venturi Masks ICU Vent= Standard Invasive Ventilation HFNC= Noninvasive High Flow Oscill Vent= High Frequency Oscillating Ventilators Noninvasive Other Devices= NI Other

## 31
| 0 |  |  |  |  | To Model
| Status |  | Inactive
| Select Therapy Type | [5 empty] | -
| Select Setting Type |  | Use Ref Setting
+
Reference Settings
| Total Gas |  |  | #N/A | LPM |  | +
| FiO2 |  |  | #N/A | %
| O2 Consumption |  |  | #N/A | LPM |  | -
| Air Consumption |  |  | #N/A | LPM
+
| Manual Settings | [6 empty] | Calculation Check
| Total Gas |  |  |  | LPM |  | + | O2 | = | 0 | x | #N/A | = | #N/A | LPM
| FiO2 |  |  |  | % |  |  | Air | = | 0 | x | #N/A | = | #N/A | LPM
| O2 Consumption |  |  | #N/A | LPM |  | - | Total Gas = |  |  | O2 + Air |  | = | #N/A | LPM
| Air Consumption |  |  | #N/A | LPM
| #N/A | Total Gas Check |  | #N/A | LPM
Data Used
| Total Gas |  |  | 0 | LPM
| FiO2 |  |  | 0% | %
| O2 Consumption |  |  | 0 | LPM
| Air Consumption |  |  | 0 | LPM
© 2020 The American Society for Health Care Engineering of the American Hospital Association 155 North Wacker Drive, Suite 400 ¦ Chicago, IL 60606 ¦ Phone: 312-422-3800 ¦ Email: ashe@aha.org ¦ Web: www.ashe.org
Note on B6: Key: MSN= Masks/Standard Nasal Cannula RVM= Reservoir Masks and Venturi Masks ICU Vent= Standard Invasive Ventilation HFNC= Noninvasive High Flow Oscill Vent= High Frequency Oscillating Ventilators Noninvasive Other Devices= NI Other

## 32
| 0 |  |  |  |  | To Model
| Status |  | Inactive
| Select Therapy Type | [5 empty] | -
| Select Setting Type |  | Use Ref Setting
+
Reference Settings
| Total Gas |  |  | #N/A | LPM |  | +
| FiO2 |  |  | #N/A | %
| O2 Consumption |  |  | #N/A | LPM |  | -
| Air Consumption |  |  | #N/A | LPM
+
| Manual Settings | [6 empty] | Calculation Check
| Total Gas |  |  |  | LPM |  | + | O2 | = | 0 | x | #N/A | = | #N/A | LPM
| FiO2 |  |  |  | % |  |  | Air | = | 0 | x | #N/A | = | #N/A | LPM
| O2 Consumption |  |  | #N/A | LPM |  | - | Total Gas = |  |  | O2 + Air |  | = | #N/A | LPM
| Air Consumption |  |  | #N/A | LPM
| #N/A | Total Gas Check |  | #N/A | LPM
Data Used
| Total Gas |  |  | 0 | LPM
| FiO2 |  |  | 0% | %
| O2 Consumption |  |  | 0 | LPM
| Air Consumption |  |  | 0 | LPM
© 2020 The American Society for Health Care Engineering of the American Hospital Association 155 North Wacker Drive, Suite 400 ¦ Chicago, IL 60606 ¦ Phone: 312-422-3800 ¦ Email: ashe@aha.org ¦ Web: www.ashe.org
Note on B6: Key: MSN= Masks/Standard Nasal Cannula RVM= Reservoir Masks and Venturi Masks ICU Vent= Standard Invasive Ventilation HFNC= Noninvasive High Flow Oscill Vent= High Frequency Oscillating Ventilators Noninvasive Other Devices= NI Other

## 33
| 0 |  |  |  |  | To Model
| Status |  | Inactive
| Select Therapy Type | [5 empty] | -
| Select Setting Type |  | Use Ref Setting
+
Reference Settings
| Total Gas |  |  | #N/A | LPM |  | +
| FiO2 |  |  | #N/A | %
| O2 Consumption |  |  | #N/A | LPM |  | -
| Air Consumption |  |  | #N/A | LPM
+
| Manual Settings | [6 empty] | Calculation Check
| Total Gas |  |  |  | LPM |  | + | O2 | = | 0 | x | #N/A | = | #N/A | LPM
| FiO2 |  |  |  | % |  |  | Air | = | 0 | x | #N/A | = | #N/A | LPM
| O2 Consumption |  |  | #N/A | LPM |  | - | Total Gas = |  |  | O2 + Air |  | = | #N/A | LPM
| Air Consumption |  |  | #N/A | LPM
| #N/A | Total Gas Check |  | #N/A | LPM
Data Used
| Total Gas |  |  | 0 | LPM
| FiO2 |  |  | 0% | %
| O2 Consumption |  |  | 0 | LPM
| Air Consumption |  |  | 0 | LPM
© 2020 The American Society for Health Care Engineering of the American Hospital Association 155 North Wacker Drive, Suite 400 ¦ Chicago, IL 60606 ¦ Phone: 312-422-3800 ¦ Email: ashe@aha.org ¦ Web: www.ashe.org
Note on B6: Key: MSN= Masks/Standard Nasal Cannula RVM= Reservoir Masks and Venturi Masks ICU Vent= Standard Invasive Ventilation HFNC= Noninvasive High Flow Oscill Vent= High Frequency Oscillating Ventilators Noninvasive Other Devices= NI Other

## 34
| 0 |  |  |  |  | To Model
| Status |  | Inactive
| Select Therapy Type | [5 empty] | -
| Select Setting Type |  | Use Ref Setting
+
Reference Settings
| Total Gas |  |  | #N/A | LPM |  | +
| FiO2 |  |  | #N/A | %
| O2 Consumption |  |  | #N/A | LPM |  | -
| Air Consumption |  |  | #N/A | LPM
+
| Manual Settings | [6 empty] | Calculation Check
| Total Gas |  |  |  | LPM |  | + | O2 | = | 0 | x | #N/A | = | #N/A | LPM
| FiO2 |  |  |  | % |  |  | Air | = | 0 | x | #N/A | = | #N/A | LPM
| O2 Consumption |  |  | #N/A | LPM |  | - | Total Gas = |  |  | O2 + Air |  | = | #N/A | LPM
| Air Consumption |  |  | #N/A | LPM
| #N/A | Total Gas Check |  | #N/A | LPM
Data Used
| Total Gas |  |  | 0 | LPM
| FiO2 |  |  | 0% | %
| O2 Consumption |  |  | 0 | LPM
| Air Consumption |  |  | 0 | LPM
© 2020 The American Society for Health Care Engineering of the American Hospital Association 155 North Wacker Drive, Suite 400 ¦ Chicago, IL 60606 ¦ Phone: 312-422-3800 ¦ Email: ashe@aha.org ¦ Web: www.ashe.org
Note on B6: Key: MSN= Masks/Standard Nasal Cannula RVM= Reservoir Masks and Venturi Masks ICU Vent= Standard Invasive Ventilation HFNC= Noninvasive High Flow Oscill Vent= High Frequency Oscillating Ventilators Noninvasive Other Devices= NI Other

## 35
| 0 |  |  |  |  | To Model
| Status |  | Inactive
| Select Therapy Type | [5 empty] | -
| Select Setting Type |  | Use Ref Setting
+
Reference Settings
| Total Gas |  |  | #N/A | LPM |  | +
| FiO2 |  |  | #N/A | %
| O2 Consumption |  |  | #N/A | LPM |  | -
| Air Consumption |  |  | #N/A | LPM
+
| Manual Settings | [6 empty] | Calculation Check
| Total Gas |  |  |  | LPM |  | + | O2 | = | 0 | x | #N/A | = | #N/A | LPM
| FiO2 |  |  |  | % |  |  | Air | = | 0 | x | #N/A | = | #N/A | LPM
| O2 Consumption |  |  | #N/A | LPM |  | - | Total Gas = |  |  | O2 + Air |  | = | #N/A | LPM
| Air Consumption |  |  | #N/A | LPM
| #N/A | Total Gas Check |  | #N/A | LPM
Data Used
| Total Gas |  |  | 0 | LPM
| FiO2 |  |  | 0% | %
| O2 Consumption |  |  | 0 | LPM
| Air Consumption |  |  | 0 | LPM
© 2020 The American Society for Health Care Engineering of the American Hospital Association 155 North Wacker Drive, Suite 400 ¦ Chicago, IL 60606 ¦ Phone: 312-422-3800 ¦ Email: ashe@aha.org ¦ Web: www.ashe.org
Note on B6: Key: MSN= Masks/Standard Nasal Cannula RVM= Reservoir Masks and Venturi Masks ICU Vent= Standard Invasive Ventilation HFNC= Noninvasive High Flow Oscill Vent= High Frequency Oscillating Ventilators Noninvasive Other Devices= NI Other

## 36
| 0 |  |  |  |  | To Model
| Status |  | Inactive
| Select Therapy Type | [5 empty] | -
| Select Setting Type |  | Use Ref Setting
+
Reference Settings
| Total Gas |  |  | #N/A | LPM |  | +
| FiO2 |  |  | #N/A | %
| O2 Consumption |  |  | #N/A | LPM |  | -
| Air Consumption |  |  | #N/A | LPM
+
| Manual Settings | [6 empty] | Calculation Check
| Total Gas |  |  |  | LPM |  | + | O2 | = | 0 | x | #N/A | = | #N/A | LPM
| FiO2 |  |  |  | % |  |  | Air | = | 0 | x | #N/A | = | #N/A | LPM
| O2 Consumption |  |  | #N/A | LPM |  | - | Total Gas = |  |  | O2 + Air |  | = | #N/A | LPM
| Air Consumption |  |  | #N/A | LPM
| #N/A | Total Gas Check |  | #N/A | LPM
Data Used
| Total Gas |  |  | 0 | LPM
| FiO2 |  |  | 0% | %
| O2 Consumption |  |  | 0 | LPM
| Air Consumption |  |  | 0 | LPM
© 2020 The American Society for Health Care Engineering of the American Hospital Association 155 North Wacker Drive, Suite 400 ¦ Chicago, IL 60606 ¦ Phone: 312-422-3800 ¦ Email: ashe@aha.org ¦ Web: www.ashe.org
Note on B6: Key: MSN= Masks/Standard Nasal Cannula RVM= Reservoir Masks and Venturi Masks ICU Vent= Standard Invasive Ventilation HFNC= Noninvasive High Flow Oscill Vent= High Frequency Oscillating Ventilators Noninvasive Other Devices= NI Other

## 37
| 0 |  |  |  |  | To Model
| Status |  | Inactive
| Select Therapy Type | [5 empty] | -
| Select Setting Type |  | Use Ref Setting
+
Reference Settings
| Total Gas |  |  | #N/A | LPM |  | +
| FiO2 |  |  | #N/A | %
| O2 Consumption |  |  | #N/A | LPM |  | -
| Air Consumption |  |  | #N/A | LPM
+
| Manual Settings | [6 empty] | Calculation Check
| Total Gas |  |  |  | LPM |  | + | O2 | = | 0 | x | #N/A | = | #N/A | LPM
| FiO2 |  |  |  | % |  |  | Air | = | 0 | x | #N/A | = | #N/A | LPM
| O2 Consumption |  |  | #N/A | LPM |  | - | Total Gas = |  |  | O2 + Air |  | = | #N/A | LPM
| Air Consumption |  |  | #N/A | LPM
| #N/A | Total Gas Check |  | #N/A | LPM
Data Used
| Total Gas |  |  | 0 | LPM
| FiO2 |  |  | 0% | %
| O2 Consumption |  |  | 0 | LPM
| Air Consumption |  |  | 0 | LPM
© 2020 The American Society for Health Care Engineering of the American Hospital Association 155 North Wacker Drive, Suite 400 ¦ Chicago, IL 60606 ¦ Phone: 312-422-3800 ¦ Email: ashe@aha.org ¦ Web: www.ashe.org
Note on B6: Key: MSN= Masks/Standard Nasal Cannula RVM= Reservoir Masks and Venturi Masks ICU Vent= Standard Invasive Ventilation HFNC= Noninvasive High Flow Oscill Vent= High Frequency Oscillating Ventilators Noninvasive Other Devices= NI Other

## 38
| 0 |  |  |  |  | To Model
| Status |  | Inactive
| Select Therapy Type | [5 empty] | -
| Select Setting Type |  | Use Ref Setting
+
Reference Settings
| Total Gas |  |  | #N/A | LPM |  | +
| FiO2 |  |  | #N/A | %
| O2 Consumption |  |  | #N/A | LPM |  | -
| Air Consumption |  |  | #N/A | LPM
+
| Manual Settings | [6 empty] | Calculation Check
| Total Gas |  |  |  | LPM |  | + | O2 | = | 0 | x | #N/A | = | #N/A | LPM
| FiO2 |  |  |  | % |  |  | Air | = | 0 | x | #N/A | = | #N/A | LPM
| O2 Consumption |  |  | #N/A | LPM |  | - | Total Gas = |  |  | O2 + Air |  | = | #N/A | LPM
| Air Consumption |  |  | #N/A | LPM
| #N/A | Total Gas Check |  | #N/A | LPM
Data Used
| Total Gas |  |  | 0 | LPM
| FiO2 |  |  | 0% | %
| O2 Consumption |  |  | 0 | LPM
| Air Consumption |  |  | 0 | LPM
© 2020 The American Society for Health Care Engineering of the American Hospital Association 155 North Wacker Drive, Suite 400 ¦ Chicago, IL 60606 ¦ Phone: 312-422-3800 ¦ Email: ashe@aha.org ¦ Web: www.ashe.org
Note on B6: Key: MSN= Masks/Standard Nasal Cannula RVM= Reservoir Masks and Venturi Masks ICU Vent= Standard Invasive Ventilation HFNC= Noninvasive High Flow Oscill Vent= High Frequency Oscillating Ventilators Noninvasive Other Devices= NI Other

## 39
| 0 |  |  |  |  | To Model
| Status |  | Inactive
| Select Therapy Type | [5 empty] | -
| Select Setting Type |  | Use Ref Setting
+
Reference Settings
| Total Gas |  |  | #N/A | LPM |  | +
| FiO2 |  |  | #N/A | %
| O2 Consumption |  |  | #N/A | LPM |  | -
| Air Consumption |  |  | #N/A | LPM
+
| Manual Settings | [6 empty] | Calculation Check
| Total Gas |  |  |  | LPM |  | + | O2 | = | 0 | x | #N/A | = | #N/A | LPM
| FiO2 |  |  |  | % |  |  | Air | = | 0 | x | #N/A | = | #N/A | LPM
| O2 Consumption |  |  | #N/A | LPM |  | - | Total Gas = |  |  | O2 + Air |  | = | #N/A | LPM
| Air Consumption |  |  | #N/A | LPM
| #N/A | Total Gas Check |  | #N/A | LPM
Data Used
| Total Gas |  |  | 0 | LPM
| FiO2 |  |  | 0% | %
| O2 Consumption |  |  | 0 | LPM
| Air Consumption |  |  | 0 | LPM
© 2020 The American Society for Health Care Engineering of the American Hospital Association 155 North Wacker Drive, Suite 400 ¦ Chicago, IL 60606 ¦ Phone: 312-422-3800 ¦ Email: ashe@aha.org ¦ Web: www.ashe.org
Note on B6: Key: MSN= Masks/Standard Nasal Cannula RVM= Reservoir Masks and Venturi Masks ICU Vent= Standard Invasive Ventilation HFNC= Noninvasive High Flow Oscill Vent= High Frequency Oscillating Ventilators Noninvasive Other Devices= NI Other

## 40
| 0 |  |  |  |  | To Model
| Status |  | Inactive
| Select Therapy Type | [5 empty] | -
| Select Setting Type |  | Use Ref Setting
+
Reference Settings
| Total Gas |  |  | #N/A | LPM |  | +
| FiO2 |  |  | #N/A | %
| O2 Consumption |  |  | #N/A | LPM |  | -
| Air Consumption |  |  | #N/A | LPM
+
| Manual Settings | [6 empty] | Calculation Check
| Total Gas |  |  |  | LPM |  | + | O2 | = | 0 | x | #N/A | = | #N/A | LPM
| FiO2 |  |  |  | % |  |  | Air | = | 0 | x | #N/A | = | #N/A | LPM
| O2 Consumption |  |  | #N/A | LPM |  | - | Total Gas = |  |  | O2 + Air |  | = | #N/A | LPM
| Air Consumption |  |  | #N/A | LPM
| #N/A | Total Gas Check |  | #N/A | LPM
Data Used
| Total Gas |  |  | 0 | LPM
| FiO2 |  |  | 0% | %
| O2 Consumption |  |  | 0 | LPM
| Air Consumption |  |  | 0 | LPM
© 2020 The American Society for Health Care Engineering of the American Hospital Association 155 North Wacker Drive, Suite 400 ¦ Chicago, IL 60606 ¦ Phone: 312-422-3800 ¦ Email: ashe@aha.org ¦ Web: www.ashe.org
Note on B6: Key: MSN= Masks/Standard Nasal Cannula RVM= Reservoir Masks and Venturi Masks ICU Vent= Standard Invasive Ventilation HFNC= Noninvasive High Flow Oscill Vent= High Frequency Oscillating Ventilators Noninvasive Other Devices= NI Other

## Equation Master
Calculations per Room | [14 empty] | .
| Variable 1: | Estimates of Gas Consumption | . | Therapy | Total Gas | FiO2 | O2 Consum | Air Consum | SCFM | Factor O2 |  | Factor Air |  |  | . | To Model
|  | Masks/Standard Nasal Cannula (MSN) | . | MSN | 8 | 30% | 0.9 | 7.1 | 0.29 | 0.1125 |  | 0.8875 |  | 1 | .
|  | Reservoir Masks and Venturi Masks (RVM) | . | RVM | 15 | 50% | 5.5 | 9.4 | 0.54 | 0.11333 | 0.36667 | 0.88667 | 0.62667 | 1 | .
|  | Standard Invasive Ventilation (ICU Vent) | . | ICU Vent | 40 | 50% | 14.7 | 25.3 | 1.43 | 0.36667 |  | 0.63333 |  | 1 | . | Disclaimer: This Excel based model allows for customization of reference equations per your institutions' specialists. Unprotecting this sheet will allow for adjustments in the air to oxygen ratio per FiO2, calculations, and predicted therapy settings. This tool is intended to support but not replace operational and clinical judgement.
|  | Noninvasive High Flow (e.g. HFNC) | . | HFNC | 50 | 60% | 24.7 | 25.3 | 1.79 | 0.494 |  | 0.506 |  | 1 | .
|  | High Frequency Oscillating Ventilators | . | Oscill Vent | 80 | 50% | 50.6 | 29.4 | 2.86 | 0.6325 |  | 0.3675 |  | 1 | .
|  | Noninvasive Other Devices | . | NI Other | 120 | 60% | 59.3 | 60.7 | 4.28 | 0.49417 |  | 0.50583 |  | 1 | .
|  |  | . | [11 empty] | .
| Variable 2: | Medical Air to Oxygen Ratio | . | FiO2 | Air | O2 Ratio | Air Ratio | [7 empty] | .
|  | FiO2 to Air | . | 20.9% |  | 0 | 1 | [7 empty] | .
|  |  | . | 30% | 7.7 | 0.11494 | 0.88506 | [7 empty] | .
|  |  | . | 40% | 3.2 | 0.2381 | 0.7619 | [7 empty] | .
|  |  | . | 50% | 1.7 | 0.37037 | 0.62963 | [7 empty] | .
|  |  | . | 60% | 1 | 0.5 | 0.5 | [7 empty] | .
|  |  | . | 70% | 0.62 | 0.61728 | 0.38272 | [7 empty] | .
|  |  | . | 80% | 0.35 | 0.74074 | 0.25926 | [7 empty] | .
|  |  | . | 90% | 0.15 | 0.86957 | 0.13043 | [7 empty] | .
|  |  | . | 100% | 0 | 1 | 0 | [7 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
Calculations per Unit/Zones | [14 empty] | .
| Variable 1: | Medical Air | . | Pipe Size | PSIG | Capacity | [8 empty] | .
|  |  | . | 1/2" | 0.96 | 260 | [8 empty] | .
|  |  | . | 3/4" | 1.06 | 700 | [8 empty] | .
|  |  | . | 1" | 1.04 | 1500 | [8 empty] | .
|  |  | . | 1+1/4" | 1.02 | 2700 | [8 empty] | .
|  |  |  | 1+1/2" | 1.02 | 4300
|  |  |  | 2" | 0.64 | 7000
|  |  |  | 2+1/2" | 0.6 | 12000
|  |  |  | 3" | 0.53 | 18000
| Variable 2: | Oxygen | . | Pipe Size | PSIG | Capacity | [8 empty] | .
|  |  | . | 1/2" | 1.06 | 260 | [8 empty] | .
|  |  | . | 3/4" | 1.06 | 660 | [8 empty] | .
|  |  | . | 1" | 1.01 | 1400 | [8 empty] | .
|  |  | . | 1+1/4" | 1.05 | 2600 | [8 empty] | .
|  |  | . | 1+1/2" | 0.99 | 4000 | [8 empty] | .
|  |  | . | 2" | 0.9 | 8000 | [8 empty] | .
|  |  | . | 2+1/2" | 0.66 | 12000 | [8 empty] | .
|  |  | . | 3" | 0.58 | 18000 | [8 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
Calculations per Main Pipe | [14 empty] | .
| Variable 1: | Medical Air: | . | Pipe Size | PSIG | Capacity | [8 empty] | .
|  | Total Capacity in LPM | . | 1+1/4" | 1.02 | 2700 | [8 empty] | .
|  |  | . | 1+1/2" | 1.02 | 4300 | [8 empty] | .
|  |  | . | 2" | 0.64 | 7000 | [8 empty] | .
|  |  | . | 2+1/2" | 0.6 | 12000 | [8 empty] | .
|  |  | . | 3" | 0.53 | 18000 | [8 empty] | .
|  |  | . | [11 empty] | .
| Variable 2: | Oxygen: | . | Pipe Size | PSIG | Capacity | [8 empty] | .
|  | Total Capacity in LPM | . | 1+1/4" | 1.05 | 2600 | [8 empty] | .
|  |  | . | 1+1/2" | 0.99 | 4000 | [8 empty] | .
|  |  | . | 2" | 0.9 | 8000 | [8 empty] | .
|  |  | . | 2+1/2" | 0.66 | 12000 | [8 empty] | .
|  |  | . | 3" | 0.58 | 18000 | [8 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
|  |  | . | [11 empty] | .
Note on F2: unit of lpm
Note on J2: Based on LPM to SCFM factor of 0.0357 identified by manual derivation
Note on G4: Listed at 30% to 50%, will use 50% to avoid underestimation for now.
Note on F5: Overridden from 12, 4.4, 7.6 for TG, O2, Air
Note on F11: Overridden from reference value of "1" since our team identified this as inaccurate. Air will be consider 100% of 20.9% FiO2 gas.
Note on F37: Reference literature PSIG value for 1" pipe is used. It is noted that this value is less than 1+1/4" pipe despite the general trend of larger pipe size leading to lower PSIG. Use of refernece value is at your discretion.